## Mittagong Website Report
MITTAGONG SEWAGE TREATMENT SYSTEM
LICENCE NUMBER 10362
Licencing Period 24 March 2024 - 23 March 2025
FINAL EFFLUENT MONITORING FORTNIGHTLY TEST RESULTS (POINT 3)
SAMPLE DATE |  |  |  | BOD | *Oil & Grease | pH | TSS | Faecal coliforms | Total N | Total P | Ammonia
Sample Taken | Received | Reviewed by | Published | (mg/L) | (mg/L) | pH units | (mg/L) | (CFU/100mL) | TKN+NOX | (mg/L) P | (mg/L) N
2024-05-14 | 2024-05-23 | EH | 2024-06-04 | 1 | NA | 6.7 | 6 | 1 | 3.63 | 0.087 | 0.77
2024-05-28 | 2024-06-06 | WM | 2024-06-14 | 1 | NA | 6.6 | 6 | 1 | 5.3 | 0.026 | 1.18
2024-06-11 | 2024-06-22 | EH | 2024-06-28 | 1 | NA | 6.7 | 5 | 1 | 3.78 | 0.076 | 0.55
2024-06-25 | 2024-07-04 | EH | 2024-07-17 | 1 | 2.5 | 6.8 | 5 | 1 | 6.28 | 0.095 | 1.2
50 percentile |  |  |  | 1 |  |  | 5.5 |  | 4.54 | 0.0815
80 percentile | [7 empty] | 200
90 percentile |  |  |  | 1 |  |  | 6 |  | 5.986 | 0.0926
100 percentile | [10 empty] | 1.2
Licence Target
50 percentile |  |  |  | 7 |  |  | 10 |  | 7 | 0.2
80 percentile | [7 empty] | 200
90 percentile |  |  |  | 10 |  |  | 15 |  | 10 | 0.3
100 percentile | [5 empty] | 6.5-8.5
*Oil & Grease - Only requires 6 samples per year (Feb, Apr, Jun, Aug, Oct & Dec)
Exceedance Report
Date | Parameter |  | Comments